# Single Photon Detectors for Detecting Extraterrestrial Life

## Abstract

Future astrophysics projects will observe faint sources in ultralow (photon-per-hour) backgrounds. In this talk, we present work funded by NASA to advance radiation-tolerant single photon CMOS detectors, in particular, those requiring optical/UV photon counting detectors. In the project, we are characterizing the performance of the Fairchild Imaging HWK4123 large-format single photon counting and photon number resolving CMOS imaging detectors. These detectors have very low capacitance sense nodes to produce a large voltage response to a single photon, even at room temperature where their dark current is <0.001 e-/s/pix. We find that performance is little-changed after exposure to 50 krad(Si) for a similar predecessor detector (QIS, Gigajot Technologies). The dark current can be set to beginning-of-life levels with modest additional cooling, 4–6 K for an 11-year mission. The project seeks to minimize the transient and long-term effects of radiation in space missions and to design a single photon counting and photon number resolving NIR detector using HgCdTe.

## Biography

Don Figer is Professor in the College of Science and Founder and Director of the Rochester Imaging Detector Laboratory, Center for Detectors, and the Future Photon Initiative at RIT. He previously was co-founder and Director of the Independent Detector Testing Laboratory at the Space Telescope Science Institute where he led a team to do the competitive characterization of prototype infrared detectors for the James Webb Space Telescope. He has been PI on dozens of observational astrophysics and instrumentation development programs. Dr. Figer studies massive stars, young star clusters, and the Galactic center. He identified the Pistol star as one of the most massive known. He made the first direct measurement of an upper limit to the masses of stars and has discovered more evolved massive stars and massive star clusters in the Galaxy than any other researcher. Dr. Figer has authored over 300 publications with a total of 9,206 citations and has an h-index of 49.