Service Requirements CFD 17-3165, 3180

- 3 - Domestic water supply lines ( 1”) with ball valves and barbed fittings mounted on the wall (3180)

- 3 - Domestic water waste return lines (1”) with barbed fittings mounted on the wall (3180)

- 3 - 220V 3phase 30 amp outlets with disconnects (connectors match current connectors in 76/A-220) (3180)

- 2 - 4” sleeves above ceiling for nitrogen lines (3180)

- Ensure that there are 4 20 amp circuits feeding each section of overhead pathway

- Provide regulators capable of 150PSI with quick connects at compressed air locations in overhead service trunk points (space allowing, send regulator information for approval prior to installation)

- Provide 2 new data lines at each section of overhead service trunk, one per end - total of 4

- 2 – 20amp emergency power circuits, one per service trunk (if available)

- Card swipe room 3150

- End user to purchase all hoses and parts required for equipment from point of building supplied services.