## Slide 1
Cabling Design for a
CCD231 based camera
Dr. Simon Tulloch
University of Sheffield

## Slide 2
CCD231 Camera
Cryostat Head Board
SP720
Very poor EMI environment
in lab. PCB has option
to use differential video.
E2V CCD231
graded AR coating.
Raw ESD
With SP720
protection
circuitry
60ns
17V
70V

## Slide 3
Controller cabling : 6-layer rigiflex
Differential video
(segmented sheathes)
Biases
Clocks
Pre-amp power
ARC Controller.
Installation process.
Buffer op-amps for inverting inputs (controller video board has only 1k input impedance on inverting inputs) .

## Slide 4
Single ended.
Differential
20 e- RMS
5e- RMS
overscan
overscan
overscan
overscan
Differential
Differential
5e- RMS
5e- RMS
Centre of a
quad-readout image.
Upper-left quadrant
used in single-ended
mode, others in
differential
Complete assembly. Gives approx. 2MHz video bandwidth
150kpix/s bias (with some light leakage)