## Slide 1
Roland Reiss, Sebastian Deiries
The Millikelvin Challenge—Cryogenic Control with Industrial PLCs

## Slide 2: Cryogenic Controller
Beckhoff Programmable Logic Control (PLC)
  EtherCAT field bus (100Mbit/s)
  24 bit analog input modules
  24V/4A PWM outputs
Features
  Precision temperature measurement
  Graphical User Interface
Sensors
  PT100..PT1000 RTDs
  LakeShore Cernox RTDs
  LakeShore DT-670 Si diodes
  Edwards WRG (vacuum)

## Slide 3: Graphical User Interface

## Slide 4: Cryogenic Controller

## Slide 5: Performance
Temperature resolution
  PT100: 10mK
  Cernox: <1mK (at 160K)
Temperature accuracy
  Only limited by vendor calibration data
Control loop stability
  ± 5mK pp