## Slide 2
a SDW2017 production
supported by:
BMBF grant 03Z22AN11
and

## Slide 3: Into the darkness…
how to exploit the dark side of photons by taming sCMOS imagers
with:
F. Pedichini
G. Li Causi
M. Stangalini
S. Antoniucci
M. Mattioli
V. Testa

## Slide 4
at present time
in a cluttered laboratory
will our heroes, blinded by a bright sun,
reveal the menace of the next DEATH STAR..?

## Slide 5
also starring:
XAO at LargeBinocularTelescope
S. Esposito et al SPIE 2012
Zyla sCMOS and
Forerunner experiment
F. Pedichini+ AJ 2016- M. Stangalini+ JATIS 2017

## Slide 6
guest star:
S.F.A.D.I.
G. Licausi+ ApJ 2017 in press

## Slide 7
episode 1:
the Forerunner experiment

## Slide 8
a few minutes of observation on bright stars to asses the XAO performances at 630nm when the seeing FWHM was
0.8 – 1.5 arcsec
pixel scale 3.73 mas
 - Cygni (Albireo) R 2.5
and its companion R 6.0
FWHM 17mas
peak 35000 adu/ms, faint features 2-3 adu/ms
Diffractive core
Control radius halo
300mas

## Slide 9
episode 2:
calibrating the sCMOS
half dynamic point
average
RON ≈ 1.2 e- (2γ)
Source stability in 1 hour

## Slide 10
cali = adui + LUT(adui) * (adui-bias)

## Slide 11
episode 3:
GLIESE 777 PSF at milliseconds
---- PSF peak
---- PSF flux-1e6
Stangalini + JATIS 2017

## Slide 12
>>> 1140 seconds of data at 1kHz >>>
frame 0
frame 1.2e6
Psf peak distribution vs time (2sec. Bins)
BEST
BAD
AVERAGE

## Slide 13
RAW
STABILIZED
CO-ADD
REGISTERED
CO-ADD

## Slide 14
episode 4:
a new hope A.D.I.
Take images at different field angles (not derotated)
Estimate by median the PSF to subtract to every frame…median on the final registered stack
ADI (Marois+ 2005)
Pedichini +
AJ 2016
Detection level is
≈ 10 times
the photon limit

## Slide 15
episode 5:
NOISE strikes back
Despite the Forerunner experiment reached in only 20 minutes of exposure a detection contrast of 5e-5 at 100 mas the scientific community is aware that breaking the contrast barrier of 1e-5 or better 1e-6(1) it is really hard and the photon limit detection, especially close to the PSF core, still remain far far away. Uncontrolled variation of NOISE as:
      PRNU
      RON
      PSF instability
almost vanish the effort of very long integration.
PROXIMA b exp. contrast 5e-7 at 40 mas
GJ 876b 1e-6 at 50 mas… (Lovis et al. 2016)

## Slide 16
episode 6:
the return of the (Specle Free) ADI

## Slide 17
Speckles identification
Speckles suppression
KHz frames acquisition
D: ADI using un-masked pixels only and average combination
SFADI ( Speckle-Free ADI )
Li Causi et al. 2017, ApJ, in press (http://arxiv.org/abs/1709.03181)
SFADI concept (10-1 contrast planet for clarity):

## Slide 18
SFADI vs ADI for 2 10-5 contrast planets on real 1.2 million frames with Forerunner@LBT
The barrier is closer, now detection limit is 3 times the photon limit.
What else?
2e-5

## Slide 19
episode 7:
new detector architectures for
SFADI at 8 meters XAO telescopes
SFADI takes care of pixels with 1e-3 γ/frame → RON ≈ 0…
Format > 512 x 512 pixel (2x2 arcsec Nyquist sampled at 600nm)
256 x 256 pixel still acceptable
Pixel size 6 micron to minimize fore optics at f#15 focal planes
1ms typical exposure with no PSF smearing
Dynamic range…?
AOB (QE > 70%)

## Slide 20
INTERLINE TRANSFER
LENSLET
EM-CCD
PHOTON COUNTING
10s resolution
SMART CMOS
…and then they were falling again into the darkness of the next tradeoff

## Slide 21
The Forerunner team
thanks for your attention
with the contribution of
ADONI
LBTO, UoA, INAF
SDW2017 BMBF grant 03Z22AN11