## Slide 1: Empirically Modeling CTE for HST
Jay Anderson
STScI
2017 Detector Workshop
Baltimore

## Slide 2: CTE = Charge-Transfer Efficiency
Radiation damage
Impact on science
  Photometry
  Astrometry
  Shape
  Makes CRs worse
Initial corrections
  Empirical corrections:
  Δm ~ 10a × SKYb × FLUXc × (y/2000)
Worst part: not knowing what to trust
UP TO 60 PIXELS

## Slide 3
SERIAL READOUT
PARALLEL READOUT

## Slide 4
SERIAL READOUT
PARALLEL READOUT
DEEPER

## Slide 5: CURRENT DEEP DARKS
ACS/WFC
WFC3/UVIS
PARALLEL READOUT

## Slide 6: CURRENT DEEP DARKS
ACS/WFC
WFC3/UVIS
PARALLEL READOUT

## Slide 7: CURRENT DEEP DARKS
ACS/WFC
WFC3/UVIS
PARALLEL READOUT

## Slide 8: Pixel-Based Models
Historical efforts
  WFPC2: Riess, Bristow, Alexov (2000-2003)
  Wisdom
    We can’t know where the traps are, use average/random dist
    Time-consuming computation:
      ACS: 8196 × 2048 × 1024 = 1.7 × 1010 calculations
      multiple traps
      Reconstruction is a deconvolution (iterative forward modeling)
More recently
  Massey et al (2010) modeled CTE in COSMOS field
    Traps with two exponentials (from lab)
    Specific field (50e− background), random traps
  Success stimulated 2009 Anderson & Bedin ACS correction

## Slide 9: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Read-noise mitigation
  Reconstruction
3) Pinning the parameters
  Long darks
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 10: 1) Model Parameters
Trapping:
  Trap density: φ(q):
  number of traps between q and q+1
  Cumulative distribution:
  q(n): the nth trap affects the qth electron
Release profile:
  T(j) = % of trap released in jth upstream pix
    Half released by j ~ 8
    Trails go out to j ~ 60
    T(j) can be a function of q: T(j;q)
20%
10%
7%

## Slide 11: 2) Algorithm
PARALLEL READOUT
Forward model
Deal with one trap at a time
  A “trap” affects one particular electron (i.e., the 37th)
When it grabs an electron,
  fill trap, remove f electrons
With clocking, deposit f × T(Δj) in upstream pixels
  Keep track of how full the trap is at each shift
  After 60 shifts, trap empty again
  If you encounter upstream pixel with > 37, flush trap, then refill

## Slide 12
PARALLEL READOUT

## Slide 13
PARALLEL READOUT

## Slide 14
PARALLEL READOUT

## Slide 15
PARALLEL READOUT

## Slide 16
PARALLEL READOUT

## Slide 17
PARALLEL READOUT

## Slide 18
PARALLEL READOUT

## Slide 19
PARALLEL READOUT

## Slide 20
PARALLEL READOUT

## Slide 21
PARALLEL READOUT

## Slide 22
PARALLEL READOUT

## Slide 23
PARALLEL READOUT
NET CHANGE:
−
+
+
+
+

## Slide 24
PARALLEL READOUT
ORIG:

## Slide 25
PARALLEL READOUT
POST READOUT:

## Slide 26
PARALLEL READOUT
Reality:
“SINK” PIXEL

## Slide 27
PARALLEL READOUT
The model:

## Slide 28
PARALLEL READOUT
The model:
NATURAL CTE MITIGATION
BY MODERATE BACKGROUND

## Slide 29
PARALLEL READOUT
Traps grow in impact
linearly with distance
from the readout register
Fewer transfers to model
The model:

## Slide 30: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 31
READOUT
?
?
?
?
?
?
?
REAL OBSERVATION
ORIGINAL
Reconstruction

## Slide 32
READOUT
?
?
?
?
?
?
?
REAL OBSERVATION
ORIGINAL
ESTIMATE OF ORIGINAL
Reconstruction

## Slide 33
READOUT
?
?
?
?
?
?
?
REAL OBSERVATION
ORIGINAL
ESTIMATE OF ORIGINAL
Reconstruction

## Slide 34
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
ESTIMATE OF OBSERVATION
ESTIMATE OF ORIGINAL
Reconstruction

## Slide 35
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
ESTIMATE OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction

## Slide 36
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
ADJUST
EST-REAL
Reconstruction

## Slide 37
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction

## Slide 38
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
ESTIMATE OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction

## Slide 39
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction

## Slide 40
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
EST-REAL
Reconstruction

## Slide 41
READOUT
?
?
?
?
?
?
?
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
EST-REAL
ADJUST
Reconstruction

## Slide 42
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction

## Slide 43
READOUT
?
?
?
?
?
?
?
READOUT
REAL OBSERVATION
ORIGINAL
MODEL OF OBSERVATION
ESTIMATE OF ORIGINAL
EST-REAL
Reconstruction
USUALLY TAKES
~7 ITERATIONS

## Slide 44: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 45: Readnoise Mitigation
Reconstruction formally a deconvolution
  Readnoise added after CTE blurring
  RN did not participate in the shuffle
    WFC3/UVIS ~3.00 e−
    ACS/WFC ~4.25 e−
  Artificial amplification of noise
How to prevent this?
  Operate on RN-free image
Conservative reconstruction
  Find smoothest possible image consistent with being
  R(i,j) = S(i,j) + N(i,j)
  N consistent with being pure readnoise
  Associate as much pix-to-pix variation as possible to N
    Σ N(i,j)2 ~ RN2
    Σ3x3 N(i,j)2 ~ 9 RN2

## Slide 46
RAW Dark

## Slide 47
Pure Noise

## Slide 48
Smooth

## Slide 49
RAW Dark

## Slide 50
Corrected Dark

## Slide 51
RAW Dark

## Slide 52
Corrected Dark

## Slide 53: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks (bright end)
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 54: Pinning Down the Model
Two functions to solve for:
q(n) and T(j)
Easier to solve for with WPs in the darks:
FAR FROM PARALLEL READOUT
READ OFF
CTE LOSSES
CLOSE TO PARALLEL READOUT

## Slide 55: Pinning Down the Model
Two functions to solve for:
q(n) and T(j)
Easier to solve for with WPs in the darks:
FAR FROM PARALLEL READOUT
READ OFF
CTE LOSSES
CLOSE TO PARALLEL READOUT

## Slide 56: Pinning Down the Model
Two functions to solve for:
q(n) and T(Δj)
Easier to solve for with WPs
in the darks:
FAR FROM PARALLEL READOUT
READ OFF
APPARENT
CTE LOSSES
n
q(n)
nth trap affects
q electrons
T(Δj)
CLOSE TO PARALLEL READOUT

## Slide 57: Pinning Down the Model
Two functions to solve for:
q(n) and T(Δj)
Easier to solve for with WPs
in the darks:
CLOSE TO PARALLEL READOUT
FAR FROM PARALLEL READOUT
READ OFF
APPARENT
CTE LOSSES
n
q(n)
nth trap affects
q electrons
T(Δj)
CHALLENGES

## Slide 58: Pinning Down the Model
Two functions to solve for:
q(n) and T(Δj)
Easier to solve for with WPs
in the darks:
CLOSE TO PARALLEL READOUT
FAR FROM PARALLEL READOUT
READ OFF
APPARENT
CTE LOSSES
?
n
q(n)
nth trap affects
q electrons
T(Δj)
CHALLENGES
#1: FAINT TRAIL

## Slide 59: Pinning Down the Model
Two functions to solve for:
q(n) and T(Δj)
Easier to solve for with WPs
in the darks:
CLOSE TO PARALLEL READOUT
FAR FROM PARALLEL READOUT
READ OFF
APPARENT
CTE LOSSES
?
n
q(n)
nth trap affects
q electrons
T(Δj)
CHALLENGES
#1: FAINT TRAIL
#2: BACKGROUND
q(n+nB)

## Slide 60: Pinning Down the Model
Two functions to solve for:
q(n) and T(Δj)
Easier to solve for with WPs
in the darks:
CLOSE TO PARALLEL READOUT
FAR FROM PARALLEL READOUT
READ OFF
APPARENT
CTE LOSSES
?
n
q(n)
nth trap affects
q electrons
T(Δj)
CHALLENGES
#1: FAINT TRAIL
#2: BACKGROUND
q(n+nB)
#3: FAINT WPs
where n ~ q(n)

## Slide 61
Pinning the model 1) Long Darks

## Slide 62: Pinning the model 1) Long Darks
AREA  q(n)
q( 35) = 100
q( 75) = 300
q( 190) = 1,000
q( 300) = 3,000
q( 550) = 10,000
q(1100) = 30,000
area ~35
area ~75
area ~190
area ~300
area ~550
area ~1100
PROFILE T(j)
t( 1) = 0.250
t( 2) = 0.100
t( 3) = 0.073
t(10) = 0.020
t(50) = 0.002

## Slide 63: Iterate to turn WPs into delta functions

## Slide 64: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks (bright end)
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 65: Pinning down the low end…
Take:
  1) 800s long darks
  2) 40s short darks
  w/postflash
Scale down long darks
  Know truth in shorts
  Start with 75 e−
  See what survives
FIXED SIGNAL-vs-SKY

## Slide 66: Pinning down the low end…
Take 800s long darks and 40s short darks
Scale down long darks
Know truth in shorts
  Start with 75 e−
  See what survives
FIXED SIGNAL-vs-SKY

## Slide 67: Is the trail profile constant?
ACS/WFC
WFC3/UVIS
SAME PROFILE
PROFILE BROADENS

## Slide 68: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 69: Current Models ACS-vs-UVIS
Similar high-end slopes
Different low-end behavior
Trails similar
N(q)
N(q)

## Slide 70: My Pixel-Based Model
1) Parameterization
2) Algorithm
  Running model
  Reconstruction
  Read-noise mitigation
3) Pinning the parameters
  Long darks
  Clever use of Long+Short darks
  Trails
4) ACS/UVIS Comparison
5) Evaluating on-sky

## Slide 71: Magnitude residuals (farthest 25%) (ACS)
S/N ~ 100
S/N ~ 30
S/N ~ 10

## Slide 72
Star Profiles (farthest third) (ACS)

## Slide 73: Summary
Model
  Trap and release
  Pinning to long/short/flashed darks
Pixel-based reconstruction effective if CTE losses are not too severe